## Slide 1: Arc Fault Analysis Using Statistical Parameters
Guide: N. Ratnakar Sir
Team Members: K. Tharun Kumar
B. Raju Ch. Naga Jaya Lakshmi G. Meghana

## Slide 2: Overview of Arc Faults
Definition: An electrical discharge or breakdown of the current flow through an unintended path, often caused by damaged or deteriorating insulation, loose connections or faulty equipment.

## Slide 3
It can generate intense heat and produce sparks, potentially leading to electrical fires, equipment damage and personal injury.

## Slide 4
Real time situation of an Arc Fault occurrence

## Slide 5: Importance of Arc Fault Analysis
Arc fault analysis helps identify and locate potential arc fault occurrences, enabling timely preventive measures to mitigate hazards.

## Slide 6
By conducting arc fault analysis, compliance with electrical safety standards and regulations can be ensured, reducing liability and promoting a safe working environment.

## Slide 7
Experimental Setup

## Slide 8: Statistical Parameters for Arc Fault Analysis
1. Standard deviation
It measures the dispersion of data points around the mean, allowing identification of abnormal fluctuations in current and voltage waveforms.
High standard deviation values indicate irregularities.

## Slide 9
2. Skewness
Skewness measures the degree and direction of asymmetry in the data distribution.
A significant positive or negative skewness indicates non-symmetrical waveforms.

## Slide 10
3. Kurtosis:
Kurtosis measures the peakedness or flatness of a distribution, indicating whether the waveform has sharp spikes or is more spread out.
Abnormal kurtosis values can indicate distorted or non-standard waveform shapes.

## Slide 11
Example:

## Slide 13: Arc Fault Analysis Process
Integration of statistical parameters into the arc fault analysis process
Collection and processing of current and voltage waveform data
Calculation of standard deviation, skewness and kurtosis
Comparative analysis with threshold values for fault detection

## Slide 14
Different loads used to collect data:
Drill Machine
Inductive load(Fan)
Inverter with desktop system
Kettle
Laptop
Resistive load(Rheostat)
Switching load(LED)
Combination of loads in parallel

## Slide 15
Drill Machine

## Slide 16
Inductive Load

## Slide 17
Inverter with Desktop System

## Slide 18
Kettle

## Slide 19
Parallel Load

## Slide 20
Resistive Load

## Slide 21
Switching Load(LED)

## Slide 22: Conclusion
Arc fault analysis using statistical parameters enables early detection and mitigation of electrical faults, reducing the risk of fires, equipment damage and personal injury.

## Slide 23
By comparing calculated values(Standard deviation, Skewness, Kurtosis) with predefined thresholds, potential arc faults can be identified, allowing for timely preventive measures and improved electrical safety.

## Slide 24: Thank You